## Instructions
Corrosion test panel rating log
What it is for: one row per panel per inspection, with rust, blistering and scribe creep ratings and the acceptance criterion each rating is read against.
1. Before exposure, enter panel identity columns and the acceptance criterion as frozen. Do not change a criterion after panels are rated.
2. At each inspection, add a new row for each panel. Never overwrite an earlier row.
3. Rate the control panel first. If the control is outside its known range, check the cabinet records before judging test panels.
4. Rate rust (ASTM D610), blistering (ASTM D714) and scribe creep (ASTM D1654 or ISO 4628-8) against the standards' own pictorial references and definitions. This log does not reproduce them.
5. Write ratings exactly as the standard designates them. Keep ASTM and ISO 4628 ratings in separate columns; the scales are numbered differently.
6. Record scribe creep mean and maximum in mm, the ASTM D1654 scribe rating (0-10), and the procedure with the method used to remove loose coating before measuring. Record the exposure hours, not only dates.
7. Take a photo at every rating under the same light and enter its file name.
8. If a rating cannot be made, leave it blank and write the reason in Notes. Judgment: met, borderline, not met or unassessed.
9. Enter real data on the Log sheet. The Example sheet is illustrative only.
10. To import into a system that takes CSV but not xlsx, save the Log sheet as CSV UTF-8. A blank CSV with the same header is supplied.
Limits: the log compares panels within one exposure run. It does not predict service life, and it does not explain the cause of a failure.
Template from www.lubinpla.com/post/corrosion-test-panel-rating-record-sheet

## Log
Panel ID (text) | Replicate group (text) | Control panel ID (text) | Coating system (text) | Substrate and pretreatment (text) | Dry film thickness (µm) | Scribe type (text) | Exposure test and edition (text) | Cabinet or site ID (text) | Exposure start date (YYYY-MM-DD) | Exposure hours at inspection (h) | Inspection date (YYYY-MM-DD) | Rater (name) | Rust grade ASTM D610 (0-10) | Rust distribution ASTM D610 (S/G/P/H) | Blister size ASTM D714 (number) | Blister density ASTM D714 (F, M, MD, D: Few, Medium, Medium dense, Dense) | ISO 4628 ratings if used (as designated) | Scribe creep mean (mm) | Scribe creep maximum (mm) | Scribe rating ASTM D1654 (0-10) | Scribe method, procedure and removal (text) | Photo reference (file name) | Acceptance criterion as frozen (text) | Judgment (met/borderline/not met/unassessed) | Notes (text)

## Example
ILLUSTRATIVE EXAMPLE ONLY: every value below is invented to show how the log reads.
Panel ID (text) | Replicate group (text) | Control panel ID (text) | Coating system (text) | Substrate and pretreatment (text) | Dry film thickness (µm) | Scribe type (text) | Exposure test and edition (text) | Cabinet or site ID (text) | Exposure start date (YYYY-MM-DD) | Exposure hours at inspection (h) | Inspection date (YYYY-MM-DD) | Rater (name) | Rust grade ASTM D610 (0-10) | Rust distribution ASTM D610 (S/G/P/H) | Blister size ASTM D714 (number) | Blister density ASTM D714 (F, M, MD, D: Few, Medium, Medium dense, Dense) | ISO 4628 ratings if used (as designated) | Scribe creep mean (mm) | Scribe creep maximum (mm) | Scribe rating ASTM D1654 (0-10) | Scribe method, procedure and removal (text) | Photo reference (file name) | Acceptance criterion as frozen (text) | Judgment (met/borderline/not met/unassessed) | Notes (text)
P-014 | SYS-B rep 2 of 3 | P-001 | Epoxy primer + polyurethane topcoat | Cold-rolled steel, zinc phosphate | 180 | Single diagonal scribe to metal | ASTM B117-26a | Cabinet 2 | 2026-03-02 | 1000 | 2026-04-13 | A. Kim | 9 | S | 8 | F |  | 1.2 | 2 | 7 | ASTM D1654-24e1, removal per lab procedure LP-07 | P-014_1000h.jpg | Creep mean at most 2 mm | met | Hanger hole rust, not rated
P-001 | Control | P-001 | Reference system R | Cold-rolled steel, zinc phosphate | 175 | Single diagonal scribe to metal | ASTM B117-26a | Cabinet 2 | 2026-03-02 | 1000 | 2026-04-13 | A. Kim | 9 | S | 10 |  |  | 1 | 1.6 | 8 | ASTM D1654-24e1, removal per lab procedure LP-07 | P-001_1000h.jpg | Control within its known range | met | Control rated first
P-015 | SYS-B rep 3 of 3 | P-001 | Epoxy primer + polyurethane topcoat | Cold-rolled steel, zinc phosphate | 165 | Single diagonal scribe to metal | ASTM B117-26a | Cabinet 2 | 2026-03-02 | 1000 | 2026-04-13 | A. Kim | 8 | P | 8 | M |  | 2 | 3.4 | 7 | ASTM D1654-24e1, removal per lab procedure LP-07 | P-015_1000h.jpg | Creep mean at most 2 mm | borderline | At the limit; second rating under the same light asked