# Trial Sample Custody and Shipment Record

For samples, controls and retained splits taken during an industrial product trial and sent to a testing laboratory.

# Instructions

1. Open this record when the trial plan is issued, before the first sample is drawn. Close it when the laboratory has confirmed receipt of the last sample and retained splits are released. 2. Fill in the sections in the order the samples move: 1 before sampling, 2 and 3 at the sampling point, 4 at dispatch, 5 at every handover, 6 the same day anything departs from the plan. 3. Give every sample, control, baseline, retained split and blank a unique ID. Never reuse an ID within the trial. 4. Holding time: take it from the test method or the laboratory. Latest analysis start = collection date and time + holding time. 5. Write times as YYYY-MM-DD hh:mm (24 h). Write temperatures in °C and volumes in mL. 6. Take the transport classification and protective equipment from the product safety data sheet (SDS) and follow the transport rules that apply to the route. 7. Both parties sign every handover line. A missing signature or an unexplained gap is recorded in section 6. 8. Decide before results are seen: a result whose custody broke is not interpreted; replace the sample or repeat the run. 9. This record documents custody for a commercial trial. It does not replace custody rules set by a regulator or a court.

# Checklist before the first sample and at dispatch

[ ]  Section 1 is complete and the criteria freeze date is earlier than the first sample.

[ ]  Every planned sample, control, baseline, retained split and blank has an ID and a role in section 2.

[ ]  Each trial sample has a paired control: same day, same point type, same method.

[ ]  Each sample has a holding time and a latest analysis start.

[ ]  Containers, labels, seals and coolers are on site; seal numbers are written down before use.

[ ]  Transport classification taken from the product SDS; packaging meets the applicable transport rules.

[ ]  Carrier, tracking number, required transport temperature and expected arrival are in section 4.

[ ]  The laboratory will record seal condition, container condition and arrival temperature.

[ ]  The rule for a broken chain is agreed and written in the trial plan.

# 1. Trial identity

| Trial plan reference and revision |  |
| --- | --- |
| Customer site, line and use |  |
| Product under trial: name and lot |  |
| Current product or untreated line used as control: name and lot |  |
| Testing laboratory: name and address |  |
| Site custodian: name, organization, phone |  |
| Laboratory receiving custodian: name, phone |  |
| Trial owner (supplier): name, phone |  |
| Criteria freeze date (YYYY-MM-DD) |  |
| Record opened (YYYY-MM-DD) and by |  |

# 2. Sample register

2a. Identity. One row per container. Role: T trial, C control, B baseline, R retained split, K blank.

| Sample ID | Role (T/C/B/R/K) | Sampling point and method | Collected (YYYY-MM-DD hh:mm) | Sampler (initials) |
| --- | --- | --- | --- | --- |

2b. Handling. Same sample IDs as 2a.

| Sample ID | Quantity (mL) and container | Container seal no. | Preservation | Holding time (h) | Latest analysis start (YYYY-MM-DD hh:mm) | Tests requested |
| --- | --- | --- | --- | --- | --- | --- |

# 3. Controls and retains

3a. Pairing. Tick each condition the control shares with its trial sample.

| Trial sample ID | Paired control or baseline ID | Same day | Same point type | Same method |
| --- | --- | --- | --- | --- |
|  |  | [ ] yes [ ] no | [ ] yes [ ] no | [ ] yes [ ] no |
|  |  | [ ] yes [ ] no | [ ] yes [ ] no | [ ] yes [ ] no |
|  |  | [ ] yes [ ] no | [ ] yes [ ] no | [ ] yes [ ] no |
|  |  | [ ] yes [ ] no | [ ] yes [ ] no | [ ] yes [ ] no |
|  |  | [ ] yes [ ] no | [ ] yes [ ] no | [ ] yes [ ] no |
|  |  | [ ] yes [ ] no | [ ] yes [ ] no | [ ] yes [ ] no |
|  |  | [ ] yes [ ] no | [ ] yes [ ] no | [ ] yes [ ] no |
|  |  | [ ] yes [ ] no | [ ] yes [ ] no | [ ] yes [ ] no |

3b. Retained splits and seals.

| Split ID | Split of sample ID | Storage place | Storage temperature (°C) | Keep until (YYYY-MM-DD) | Who may open | Seal no. |
| --- | --- | --- | --- | --- | --- | --- |

# 4. Shipment

One block per shipment. Copy the block for further shipments.

| Shipment ID |  |
| --- | --- |
| Sample IDs in this shipment |  |
| Number of packages (count) |  |
| Package seal numbers |  |
| Carrier |  |
| Tracking or airbill number |  |
| Transport classification from SDS (SDS revision) |  |
| Required transport temperature (°C, from to) |  |
| Temperature control: coolant, logger or temperature blank |  |
| Dispatched (YYYY-MM-DD hh:mm) |  |
| Expected arrival (YYYY-MM-DD hh:mm) |  |

[ ]  Copy of this record packed inside the package.

[ ]  Packaging and labelling meet the transport rules that apply to the route.

[ ]  Carrier receipt kept with this record.

# 5. Handover log

One line per change of custody, including collection to site store, dispatch, laboratory receipt and transfer to the analyst. Both parties sign.

| No. | Sample IDs | From: name, organization, signature | To: name, organization, signature | Date and time (YYYY-MM-DD hh:mm) | Purpose and place | Seal intact, condition, temperature on receipt (°C) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Seal [ ] intact [ ] broken Condition: Temp (°C): |
|  |  |  |  |  |  | Seal [ ] intact [ ] broken Condition: Temp (°C): |
|  |  |  |  |  |  | Seal [ ] intact [ ] broken Condition: Temp (°C): |
|  |  |  |  |  |  | Seal [ ] intact [ ] broken Condition: Temp (°C): |
|  |  |  |  |  |  | Seal [ ] intact [ ] broken Condition: Temp (°C): |
|  |  |  |  |  |  | Seal [ ] intact [ ] broken Condition: Temp (°C): |
|  |  |  |  |  |  | Seal [ ] intact [ ] broken Condition: Temp (°C): |
|  |  |  |  |  |  | Seal [ ] intact [ ] broken Condition: Temp (°C): |

# 6. Deviations

Record each departure from the trial plan the same day. Effect on reading, per test: readable, readable with note, or not readable.

| No. | Sample IDs | What happened | Effect on reading, per test | Decision | Decided by, date |
| --- | --- | --- | --- | --- | --- |

# Record closed

| Last sample received by laboratory (YYYY-MM-DD) |  |
| --- | --- |
| Retained splits released or discarded (YYYY-MM-DD) |  |
| Closed by: name, signature, date |  |

# Illustrative example (invented values, not a real trial)

This filled excerpt shows how one temperature excursion on arrival is carried from the handover log into section 6. Every name, ID, time and temperature here is illustrative, and the 2 to 8 °C transport range is an example a trial plan might set, not a sourced limit.

| Trial plan reference and revision | TP-2026-014 rev 2 |
| --- | --- |
| Customer site, line and use | Plant B, cold rolling stand 3, emulsion coolant |
| Product under trial / control | Trial coolant lot 26-0917 / current coolant lot 26-0802 |
| Criteria freeze date | 2026-09-20 |

| Sample ID | Role | Collected | Holding time (h) | Latest analysis start | Tests requested |
| --- | --- | --- | --- | --- | --- |
| TP014-T-05 | T | 2026-10-01 09:40 | 72 | 2026-10-04 09:40 | Concentration, pH, bacteria count |
| TP014-C-05 | C | 2026-10-01 09:45 | 72 | 2026-10-04 09:45 | Concentration, pH, bacteria count |
| TP014-T-05R | R | 2026-10-01 09:40 | n/a | n/a | Retained at site, 4 °C |

| No. | From to | Date and time | Seal, condition, temperature on receipt |
| --- | --- | --- | --- |
| 1 | Sampler to site custodian | 2026-10-01 09:50 | Container seal S-104301 applied |
| 2 | Site custodian to courier (tracking number recorded) | 2026-10-01 14:10 | Package seals S-104310, S-104311 intact |
| 3 | Courier to laboratory sample desk | 2026-10-02 16:30 | Seals intact; 14 °C, above the 2 to 8 °C plan range |
| 4 | Sample desk to analyst | 2026-10-02 16:45 | Bacteria count put on hold |

| No. | Sample IDs | What happened | Effect on reading | Decision |
| --- | --- | --- | --- | --- |
| D-04 | TP014-T-05, TP014-C-05 | Arrived at 14 °C, above the 2 to 8 °C plan range; seals intact | Concentration and pH readable with note; bacteria count not readable | Draw a replacement pair at the next interval; keep originals on file, not for interpretation. Trial owner, 2026-10-03 |